## SUMMARY
FINAL SUMMARY
SECT NO | DESCRIPTION | AMOUNT
FINAL SUMMARY
1 | PRELIMINARIES AND GENERAL
2 | COMMUNITY HALL
3 | ABLUTIONS
4 | EXTERNAL WORKS
SUB TOTAL 1: COST OF WORKS (EXCL. CONTINGENCIES & VAT)
| ADD: 5% CONTINGENCIES |  | 5%
SUB TOTAL 2: TOTAL CONSTRUCTION COST (EXCL. VAT)
VAT @15%
TOTAL CONSTRUCTION COST (INCL. VAT)
TOTAL CARRIED FORWARD TO TENDER

## BOQ
SECTION 1: PRELIMINARIES AND GENERAL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 1
PRELIMINARIES AND GENERAL
Note: A rate shall be entered in the amount
column for each item. Items which are
included should have the word "included"
written in the appropriate column. All items
not priced shall be deemed to be included
elsewhere in the unit rates and no claim in
this regard shall be entertained
SCOPE OF WORK
The scope of the work is the construction of
a Community Hall, office block, verandah block
and ablution block, including external works
as indicated on the tender/ construction drawings
| FIXED CHARGE ITEMS |  |  |  |  | Contract No.:MTU 24/2020/21 CONSTRUCTION OF KWAMSANE MULTIPURPOSE COMMUNITY HALL
1 | Contractual requirements. | Sum | 1
Comprehensive breakdown of any cost claimed
under this item needs to be provided with the tender
PART C2: PRICING DATA
Establishment of Facilities on the Site
Facilities for Engineer (SANS 1200 AB)
2 | Office for site meetings | No | 1
3 | Name board as per drawing no.2019-11-LAY-001 | No | 1
and 2019-11-LAY-002
Facilities for Contractor
4 | Offices and storage sheds. | Sum | 1
5 | Ablution and latrine facilities. | Sum | 1
6 | Tools and equipment. | Sum | 1
7 | Water supplies, electric power, communications, etc | Sum | 1
.
8 | Dealing with water (Subclause 5.5) | Sum | 1
9 | Access (Subclause 5.8) | Sum | 1
10 | Pollution | Sum | 1
11 | Plant, including cranage, scaffolding, etc | Sum | 1
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 1: PRELIMINARIES AND GENERAL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
12 | General responsibilities and other fixed-charge | Sum | 1
obligations
13 | Removal of site establishment. | Sum | 1
Health and Safety
14 | Preparation of Health and Safety Plan | Sum | 1
15 | Health and Safety Training | Sum | 1
16 | Personal Protective Clothing and Equipment | Sum | 1
17 | Fences, Signs and Barricades | Sum | 1
18 | Establishment of Safety Administration | Sum | 1
19 | Other Health and Safety Fixed-charged obligations | Sum | 1
TIME RELATED ITEMS
20 | Contractual requirements. (Calculated over | Sum | 1
contract period)
Operation and Maintenance of Facilities
on Site, for Duration of Construction,
(unless otherwise stated)
Facilities for Engineer (SANS 1200 AB)
21 | Office for site meetings | Sum | 1
Facilities for Contractor
22 | Offices and storage sheds. | Sum | 1
23 | Ablution and latrine facilities. | Sum | 1
24 | Tools and equipment. | Sum | 1
25 | Water supplies, electric power, communications, etc | Sum | 1
26 | Dealing with water (Subclause 5.5) | Sum | 1
27 | Access (Subclause 5.8) | Sum | 1
28 | Pollution | Sum | 1
29 | Plant, including cranage, scaffolding, etc | Sum | 1
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 1: PRELIMINARIES AND GENERAL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
30 | Supervision for duration of construction. | Month | 6
31 | Company and head office overhead costs for | Sum | 1
contract period.
32 | Other time related obligations. (Calculated over | Sum | 1
contract period)
Health and Safety
33 | Implementation and maintenance of Health and | Sum | 1
Safety Plan
34 | Provision of Construction Safety Officer(s) | Month | 6
35 | Implementation and maintenance of Training | Sum | 1
36 | Maintenance of Personal Protective Clothing | Sum | 1
and Equipment
37 | Maintenance of Fences, Signs and Barricades | Sum | 1
38 | Implementation and maintenance of Safety | Sum | 1
Administration
39 | Other Health and Safety Time-related obligations | Sum | 1
40 | Submission of Health and Safety File | Sum | 1
SUM STATED PROVISIONAL BY ENGINEER
41 | Specified soil testing as order by engineer at approved | PC | 1 | 5000 | 5000
laboratory
42 | Extra over 41 for profit, administration etc. | % | 5000
43 | Specified concrete testing as per order by engineer at | PC | 1 | 5000 | 5000
approved laboratory
44 | Extra over 43 for profit, administration etc. | % | 5000
45 | Allow for OHS monthly | PC | 1 | 120000 | 120000
according to construction regulations
46 | Extra over 45 for profit, administration etc. | % | 120000
47 | Allow for Environmental practitioner for monthly EMP | PC | 1 | 120000 | 120000
audits
48 | Extra over 47 for profit, administration etc. | % | 120000
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 1: PRELIMINARIES AND GENERAL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
49 | Allow for CLO Payments | PC | 1 | 40000 | 40000
50 | Extra over 49 for profit, administration etc. | % | 40000
51 | Allow for PSC Payments | PC | 1 | 6000 | 6000
52 | Extra over 51 for profit, administration etc. | % | 6000
53 | For ESKOM Supply Connection | PC | 1 | 45000 | 45000
54 | Extra over 53 for profit, administration etc. | % | 45000
59 | Allow for Municipal water connection and meter | PC | 1 | 2500 | 2500
60 | Extra over 59 for profit, administration etc. | % | 2500
61 | Accredited Training | PC | 1 | 150000 | 150000
62 | Extra over 61 for profit, administration etc. | % | 150000
63 | PC Sum to cover the provision of a student as directed by the Engineer | PC | 1 | 42000 | 42000
64 | Extra over 61 for profit, administration etc. | % | 42000
TOTAL CARRIED FORWARD TO FINAL SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 1
EARTHWORKS
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated material
shall be deemed to include loading excavated
material onto trucks directly from the excavations
or, alternatively, from stock piles situated on the
building site
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | For trenches | m³ | 140
Extra over all excavations for carting away
2 | Surplus material from excavations and/or stock | m³ | 70
piles on site to a dumping site to be located by
the contractor
Risk of collapse of excavations
3 | Sides of trench excavations not exceeding | m² | 380
1,5m deep
Keeping excavations free of water
4 | Keeping excavations free of all water other than | Item | 1
subterranean water
Earth filling obtained from the excavations
and/or prescribed stock piles on site
compacted to 98% Mod AASHTO density
in 100mm thick layers with "Wacker"
5 | In filling under floors | m³ | 45
6 | Backfilling to trenches, holes, etc | m³ | 85
Imported G5 filling supplied by the contractor
compacted to 98% Mod AASHTO density
7 | 150mm Thick under floors etc | m³ | 50
8 | Under ramp | m³ | 10
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Coarse river sand filling supplied by the
contractor
9 | Under floors etc | m³ | 10
Compaction of surfaces
10 | Compaction of ground surface under strip | m² | 450
footings etc including scarifying for a depth
of 150mm, breaking down oversize material,
adding suitable material where necessary
and compacting to 98% Mod AASHTO
density with "Wacker"
Prescribed density tests on filling
11 | Modified AASHTO Density test | No | 10
SOIL POISONING
Soil insecticide
12 | Under floors etc including forming and poisoning | m² | 450
shallow furrows against foundation walls etc,
filling in furrows and ramming
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 2
CONCRETE, FORMWORK & REINFORCEMENT
SUPPLEMENTARY PREAMBLES
Cost of tests
The costs of making, storing and testing of concrete
test cubes as required under clause 7 "Tests"
of SANS 1200 G shall include the cost of
providing cube moulds necessary for the purpose,
for testing costs and for submitting reports on
the tests to the engineer. The testing shall be
undertaken by an independent firm or institution
nominated by the contractor to the approval of the
engineer. (Test cubes are measured separately)
Formwork
Description of formwork shall be deemed to include use
and waste only (except where described as "left in" or
"permanent"), for fitting together in the required forms,
wedging, plumbing and fixing to true angles and
surfaces as necessary to ensure easy release during
stripping and for reconditioning as necessary before
re-use
Formwork to sides of bases, pile caps,
ground beams, etc will only be included in
the final measurement where it is
prescribed by the engineer for design
reasons. Formwork necessitated by
irregularity or collapse of excavated faces
will not be measured and the cost thereof
shall be deemed to be included in the
allowance for taking the risk of collapse of
the sides of the excavations, provision for
which is made in "Earthworks"
REINFORCED CONCRETE
25MPa/19mm concrete
1 | Strip footings and bases | m³ | 25
2 | Surface beds on waterproofing | m³ | 45
3 | Ramps on waterproofing | m³ | 5
4 | V-drains on waterproofing cast in panels | m³ | 10
5 | Stub column | m³ | 1
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
6 | Columns | m³ | 2
7 | Steps | m³ | 5
TEST BLOCKS
8 | Making and testing set of three 150 x 150 x | No | 15
150mm concrete strength test cubes (Provisional)
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth
with a wood float for a non-slip surface
9 | Aprons and v-drains to currents and falls | m² | 100
10 | Stair treads and landings, etc to falls and | m² | 50
currents
Finishing top surfaces of concrete with
"Brushed" finish for a non-slip surface
11 | Ramps to falls | m² | 15
Finishing top edge surfaces of concrete
stairs with four parallel ribbed non-slip
lines overall not exceeding 100mm wide
12 | Steps | m | 4
Finishing top surfaces of concrete smooth
with a class U3 steelfloat
13 | Water tank | m² | 10
50MPa Non shrink grount
14 | Cementitious non-shrink grout | ltr | 4
approximately 30mm thick under base plate
including chamfered edges all around
15 | Cementitious non-shrink grout in pockets | ltr | 4
ROUGH FORMWORK (DEGREE OF
ACCURACY II)
Rough formwork to sides
16 | Strip footings and bases not exceeding
| 300mm high or wide | m | 50
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
SMOOTH FORMWORK (DEGREE OF
ACCURACY II)
Smooth formwork to sides
17 | Edges, risers, ends and reveals not exceeding | m | 100
300mm high or wide
18 | Stub column | m² | 4
19 | Column | m² | 38
Boxing in smooth formwork to form
20 | 15 x 15mm Chamfer along top edge of stub column | m | 5
Grooves, channels, mortices, sinkings,
etc in concrete
21 | 75mm Diameter x 150mm deep pockets in top | No | 8
of concrete base around anchor bolts
MOVEMENT JOINTS ETC
Expansion joints with closed cell expanded
polyethylene softboard or similar approved
with tear-off strip at top
22 | 10mm Joints not exceeding 300mm wide between | m | 100
concrete surfaces (v-drain)
23 | 12mm Joints not exceeding 300mm wide between | m | 5
concrete surfaces (stub column)
24 | 12mm Joints not exceeding 300mm wide between | m | 50
concrete and brick surfaces (foundation walls)
25 | 12mm Joints not exceeding 300mm wide between | m | 5
concrete and block surfaces (water tank)
Saw cut joints
26 | 3 x 40mm Saw cut joints in top of concrete, | m | 50
including induced crack, groove and 6 x 13mm
reamed
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
REINFORCEMENT (PROVISIONAL)
Fabric reinforcement
27 | Ref 193 fabric reinforcement in concrete surface | m² | 450
beds, v-drains, etc
High tensile and mild steel reinforcement to
concrete work
28 | Various diameter bars | t | 4.2
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 3
MASONRY
SUPPLEMENTARY PREAMBLES
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick
units, "one brick" shall represent the length and
"half brick" the width of a brick
Face bricks
Bricks shall be ordered timeously to obtain
uniformity in size and colour
Pointing
Descriptions of recessed pointing to fair
face brickwork and face brickwork shall be
deemed to include square recessed, hollow
recessed, weathered pointing, etc
BLOCKWORK
Concrete masonry units
Blocks are to be either solid or hollow modular
dense concrete masonry units having a
compressive strength of 7 MPa
Wall ties for blockwork
Wall ties shall be polypropylene "Permaties"
complying with BS 76377. Ties for hollow walls
shall be of sufficient length to allow not less than
75mm of each end to be built into the blockwork.
Ties are to be spaced at intervals of not more than
1m in the horizontal direction and not more than
400mm staggered in the vertical direction except at
openings, vertical joints or ends of walls where they
are to be placed vertically above each other
Blockwork
Blockwork shall comply with SABS 0145 "Concrete
Masonry Construction"
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Surfaces to be plastered shall have joints raked out
to a depth of at least 10mm to provide a key.
Cavities of hollow walls shall be kept free of mortar
droppings or other undesirable matter. Every second
perpend of the bottom course of the external skin of
hollow walls shall be left open as a weep hole
Standard complementary blocks
Descriptions of blockwork shall be deemed to
include standard complementary blocks such as
corner, three-quarter, half and quarter blocks
required in the construction of corners, reveals,
jambs, ends, etc to solid and hollow walls and for
bonding as necessary
FOUNDATIONS (PROVISIONAL)
Brickwork of NFX bricks (14 Mpa nominal
compressive strength) in class I mortar
1 | Half brick walls | m² | 10
2 | One brick walls | m² | 180
SUPERSTRUCTURE
Brickwork of NFP bricks in class II mortar
3 | Half brick walls | m² | 50
4 | One brick walls | m² | 320 |  |  | 68.34
5 | Half brick walls in beamfilling | m² | 80 |  |  | 18.888
6 | One brick walls in beamfilling | m² | 5 |  |  | 5.4
BRICKWORK SUNDRIES
Bagging of 1:3 cement and sand mixture
7 | Bag outer face of inner skin of brick wall to receive | m² | 240
bitumen paint
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Joint forming material in movement
joints
8 | 10mm Bitumen impregnated fibre board 115mm | m | 40 |  |  | 11
| wide built in vertically between brick walls |  |  |  |  | 2
9 | 10mm Bitumen impregnated fibre board | m | 15 |  |  | 11
115mm wide built in vertically between brick
walls and concrete columns
10 | 10mm Bitumen impregnated fibre board | m | 5 |  |  | 11
230mm wide built in vertically between brick
walls and concrete columns
11 | 12mm Bitumen impregnated fibre board 230mm | m | 5 |  |  | 5
| wide built in vertically between brick walls |  |  |  |  | 5
12 | 12mm Bitumen impregnated fibre board 230mm | m | 5 |  |  | 5
| wide built in vertically between brick walls |  |  |  |  | 5
Brickwork reinforcement
13 | 75mm Wide reinforcement built in horizontally | m² | 130
14 | 150mm Wide reinforcement built in horizontally | m² | 1490
15 | 225mm Wide reinforcement built in horizontally | m² | 120
Prestressed fabricated lintels including
propping
16 | 110 x 75mm Lintels in lengths not exceeding 3m | m | 70
17 | 110 x 75mm Lintels in lengths exceeding 3m and | m | 10 |  |  | 7.8
not exceeding 4,5m
Galvanised hoop iron clamps, wire ties etc
18 | 30 x 1,2mm roof tie 2m girth bent double | No | 85 |  |  | 70.46
with one end fixed to timber and other end
built into mortar filled brickwork
19 | 1,2mm thick concertina tie built into brickwork | No | 140
20 | 25 x 700mm long hoop iron built into brickwork | No | 10
and fixed to concrete column
Air bricks etc
21 | 220 x 160 x 50mm "Grey" Concrete vermin proof air brick | No | 20
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
BLOCKWORK SUNDRIES
Wall bonding ties
23 | 6mm Diameter mild steel rod wall bonding tie built | kg | 50
vertically into blockwork, etc
FACE BRICKWORK
Corobrick Firelight Travertine Imperial
FBX clay face bricks in stretcher bond
pointed with recessed horizontal and
vertical joints bedded in class II mortar
or similar approved
24 | Extra over brickwork for face brickwork in | m² | 180 |  |  | 67.46
foundations (Provisional)
25 | Extra over brickwork for face brickwork | m² | 240
26 | 230mm Wide sill set sloping and slightly projecting | m | 80 |  |  | 17.1
EVERITE NUTEC FIBRE-CEMENT
WINDOW SILLS
Natural grey sills (031-509) in single
lengths bedded in class II mortar
including metal fixing lugs and
self-tapping screws etc
27 | 15 x 150mm Wide sills set flat and slightly projecting | m | 80
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 4
WATERPROOFING
DAMP-PROOFING OF WALLS AND FLOORS
One layer of 375 micron "Consol Plastics
Brikgrip DPC" embossed damp proof course
1 | In walls | m² | 25 |  |  | 17.4432
1.7825
2 | Below sills | m² | 10 |  |  | 19.2257
One layer of 250 micron "Consol Plastics
Gunplas Black" waterproof sheeting sealed
at laps with "Gunplas Pressure Sensitive Tape"
3 | Under surface beds | m² | 380
Two coats "Derbigum" bitumen
emulsion waterproof coating
4 | On bagged brick walls | m² | 250
JOINT SEALANTS ETC
Clear silicone sealing compound or
similar approved
5 | Around aluminium window, shop fronts and | m | 90 |  |  | 4.2
| door frames |  |  |  |  | 5.4
4.8
| Sika 2HP flex-pro sealant or similar approved |  |  |  |  | 5.4
4.8
6 | 6 x 10mm Saw cut joint | m | 100
11FC Polysulphide sealant or similar
approved including raking out expansion
joint filler, backing strip, primer, etc
7 | 10 x 10mm In expansion joints in floors | m | 55
8 | 12 x 12mm In expansion joints in walls | m | 65
Sika flex-pro 3 sealant or similar approved
including raking out expansion joint filler,
backing strip, primer, etc
9 | 12 x 10mm In expansion joints in floors | m | 20
10 | 12 x 10mm In expansion joints in walls | m | 30
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 5
ROOF COVERINGS ETC
PROFILED METAL SHEETING AND
ACCESSORIES
0.5mm "Safintra" SAFLOK Colorplus AZ150
interlocking roof sheeting, "Rain Cloud" color
fixed to timber purlins using SAFLOK 700 clips
screw fixed to timber purlins with class 3
wafer self tapping screws and saddle washers,
all in accordance with manufacturers
recommendation
1 | Roof covering with pitch not exceeding 15 degrees | m² | 325
2 | Ridge flashing 660mm girth | m | 25
3 | Hip capping 660mm girth | m | 65
4 | Narrow and broad flute closers | m | 35
5 | Serrated narrow and broad flute poly closers | m | 65
SHEET METAL FLASHINGS, LININGS,
COPINGS, ETC
0,6mm "Saftal" aluminium sheet
6 | Valley gutter, average 550mm girth bent | m | 40
five times
ROOF INSULATION
Sisalation FR430 heavy duty double sided
reflective foil laminate laid with 150mm
overlaps and anti sag straining wire spacing
at 275mm all in accordance with
manufacturers recommendation
7 | Insulation laid taut over purlins (at approximately | m² | 485
1,2m centres) and fixed concurrent with roof
covering
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 6
CARPENTRY AND JOINERY
ROOFS ETC
Plate nailed timber roof truss construction
The following is applicable in respect of roof
trusses:
Trusses are at maximum 1200mm centres
Roof covering is Safintra steel roof sheeting
on 50 x 75mm timber purlins
Ceilings are 6,4mm Gyproc Rhinoboard
sheeting on 38 x 50mm brandering
The dimensions in the descriptions of the trusses
are nominal and actual measurements are to be
obtained from the architect and/or the site before
design or fabrication commences
Sawn softwood
1 | Roof construction to double pitched roof with | Sum | 1
two hipped ends for floor area 19,62 x 16,23m
with 600mm eaves overhang projection on both sides
and 1730mm high overall including trusses, jack
rafters, permanent bracing, etc
2 | Extra over roof construction for trusses in hip set, | No | 2
including hip girders, jack trusses, truncated trusses, etc
3 | Verandah roof construction to double pitched roof with | Sum | 1
one hipped end and other end linked to main roof for
floor area 7,23 x 4,03m with 1000mm eaves overhang
projection on both sides and 710mm high overall
including trusses, jack rafters, permanent bracing, etc
4 | Extra over verandah roof construction for trusses in | No | 1
hip set, including hip girders, jack trusses, truncated
trusses, etc
5 | Extra over roof constructions for T-junction in trusses, | No | 1
including valley boarding, jack trusses, truncated
trusses, etc
TOTAL CARRIED FORWARD
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD
Sundries
6 | "Teco" two way hurricane clips | No | 80
EAVES, VERGES, ETC
Nutec "Everite" pressed fibre-cement
7 | 12 x 225mm Fascia boards including PVC H-profile | m | 110
jointing strips fixed to timber rafters and trimmer
batten twice screwed with 12 x 40mm countersunk
brass screws
DOORS ETC
Solid hardwood meranti horizontal slatted door
8 | 40mm Single door size 813 x 2032mm high | No | 4
9 | 40mm Double door size 1800 x 2032mm high, | No | 1
comprising two 900 x 2032mm leafs with rebated
meeting stiles
Semi-solid hardwood meranti horizontal slatted
door
10 | 40mm Single door size 813 x 2032mm high | No | 1
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 7
CEILINGS, PARTITIONS AND ACCESS
FLOORING
SUPPLEMENTARY PREAMBLES
Descriptions:
Items described as "nailed" shall be deemed to
be fixed with hardened steel nails or pins or shot
pinned to brickwork or concrete
Items described as "plugged" shall be deemed
to include screwing to fibre, plastic or metal
plugs at not exceeding 600mm centres, and
where described as "bolted" the bolts have been
given elsewhere
NAILED UP CEILINGS
6.4mm "Gyroc RhinoCeil"plasterboard
including M-strip cover strips over joints
1 | Ceilings including 38 x 50mm sawn softwood | m² | 350
brandering at 400mm centres including at
perimeter of rooms
2 | Extra over ceiling for 600 x 600mm trap door of | No | 3
38 x 38mm wrought softwood rebated framing with
one 38 x 38mm sawn softwood cross brander
covered with ceiling board and fitted flush in opening
6mm "Everite Nutec" fibre-cement boards
including PVC H-profile jointing strips
3 | Ceilings including 38 x 50mm sawn softwood | m² | 30
brandering at 400mm centres
Rhino gypSum plasterboard cornices
4 | 75mm Coved cornices | m | 170
INSULATION
Isoterm insulation
5 | 100mm Insulation closely fitted and laid on top | m² | 350
of brandering between roof timbers etc.
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 8
IRONMONGERY
SUPPLEMENTARY PREAMBLES
Finishes to ironmongery
Where applicable finishes to ironmongery are
indicated by suffixes in accordance with the
following list:
BS Satin bronze lacquered
CH Chromium plated
SC Satin chromium plated
SE Silver enamelled
GE Grey enamelled
AS Anodised silver
AB Anodised bronze
AG Anodised gold
ABL Anodised black
PB Polished brass
PL Polished and lacquered
PT Epoxy coated
SD Sanded
CATCHES, CABIN HOOKS, ETC
Solid
1 | 150mm Satin cabin hooks | No | 14
LOCKS
Solid
2 | Four lever mortice lockset and chrome plated | No | 5
handles
3 | Four lever mortice rebated lockset and chrome | No | 1
plated handles
LETTERS, NAMEPLATES, ETC
Photoluminescent' Fire and Directional
signage as per DOWD Pezula Signage
Solutions
4 | 150 x 150mm Perspex plate with fire exit, fire | No | 6
extinguisher, fire hose reel or fire hydrant symbol
5 | 150 x 300mm Perspex plate with fire exit | No | 5
TOTAL CARRIED FORWARD
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD
SUNDRIES
6 | 38mm Diameter rubber door stop | No | 13
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 9
METALWORK
NEW WORK IN HOT DIPPED GALVANISED
STEEL
Wecrolok balustrade per specifications
Supply, deliver and install
1 | 1m high balustrade, comprising handrails, knee rails | m | 10
and stanchions bolted to concrete floors, including
fittings, bolts, etc
2 | Handrails bolted to brick walls, including brackets, | m | 19
bolts, etc
Erection Bolts to All Structures
3 | Supply and install grade 8.8 hot dipped galvanising | kg | 5
steel bolts, nuts and washers
4 | Supply, fabricate, install and cast M16 x | No | 8
600mm long galvanised holding down bolt
(Gr 4.6) in exact position into top of
concrete base with thread projecting
100mm above top of base and protecting
thread and nuts against damage
GALVANIZED PRESSED STEEL DOOR FRAMES
1,6mm Double rebated frames suitable
for half brick walls
5 | Frame for door 813 x 2032mm high | No | 2
1,6mm Double rebated frames suitable
for one brick walls
6 | Frame for door 813 x 2032mm high | No | 3
7 | Frame for double door 1800 x 2032mm high | No | 2
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
ALUMINIUM WINDOWS, DOORS, ETC
Natural anodised extruded aluminium windows
with mechanically cleated corners, screw
and plug fixed to reveals with clip-on glazing
beads to match with neoprene seals and
plugged to brickwork or concrete with
minimum two fixing lugs per side, including
matching beads and continuous rubber
gaskets, wood pile gaskets on casement
and frame and sealed to prevent any
water penetration, accessories of
stainless steel heavy duty friction
hinges/ stays, double draft seals,
powder coated aluminium window
handle, etc.
Glazed with 4mm clear float glass as per
SANS 10400 (Total U-value - 7,9; SHGC = 0,81)
8 | Window size 1020 x 1560mm high | No | 18
9 | Window size 1020 x 940mm high | No | 4
10 | Window size 1020 x 624mm high | No | 1
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Purpose natural anodised extruded aluminium
shopfront, door and frame with accurate
mitred corners, screw and plug fixed to
reveals with clip-on glazing beads to
match with neoprene seals and plugged
to brickwork or concrete with minimum
two fixing lugs per side, including
matching beads and continuous rubber
gaskets, wood pile gaskets on casement
and frame and sealed to prevent any
water penetration installed by AAAMSA
accredited service provider
Glazed with clear 6.38mm laminated safety
glass
16 | Entrance foyer double door and sidelights, | No | 3
overall size1600 x 2100mm high, comprising
1800 x 2100mm double door with one horizontal
mullion and two 700 x 2100mm side lights with two
700 x 600mm top hung panes and one 700 x
900mm fixed pane on each, including 35mm
"Dorma" backset narrow stile deadlock and roller
bolt (D07935), 65mm "Dorma" nickle plated five pin
euro profile double cylinder (DDC056501), dust keep,
two pairs of Dorma 400x32 stainless steel "T"
shaped offset back-to-back pull handles (DPH206),
two "Howick" top and bottom 180x20mm aluminium
lever action flush bolt (H460), two "QS" 150mm
satin chrome cabin hooks (166), etc.
TOTAL CARRIED FORWARD TO SUMMARY
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 10
PLASTERING
SCREED
Screeds wood floated on concrete
1 | 30mm Thick on floors and landings | m² | 350
INTERNAL PLASTER
15mm Cement plaster on brickwork
2 | On walls | m² | 410
EXTERNAL PLASTER
15mm Cement plaster on brickwork
3 | On walls | m² | 10
Rough-cast or splatter plaster on concrete work
4 | On stub column | m² | 10
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 11
TILING
SUPPLEMENTARY PREAMBLES
Descriptions
All tiling to be fixed to walls and floors with
an approved cement based tile adhesive
WALL TILING
200 x 200 x 10mm Glazed white ceramic
"Johnson" tiles or similar approved
fixed with approved special adhesive,
3mm joints raked out and flush pointing
white grouting to plaster (plaster
elsewhere)
1 | On splashbacks | m² | 10
FLOOR TILING
600 x 600mm Full body ceramic floor
tiles with PEi 4 rating fixed to screeded
floors with tile adhesive notched trowel
and grout to 4mm joints (Allow R
250.00/m2 for supply of tiles)
2 | On floors | m² | 350
3 | Skirting, 100mm high | m | 185
FLOOR EDGE TRIM
Aluminium trim
4 | 10mm Straight edge trim | m | 15
5 | 12mm Movement joint in floor tiles | m | 130
6 | 12mm Stair nosing | m | 5
Brass
7 | 10mm Straight edge trim | m | 15
WALL EDGE PROTECTOR
9mm High white M-Trim PVC concave
edge trim or similar approved
8 | On walls edges | m | 15
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 12
PLUMBING AND DRAINAGE
RAINWATER DISPOSAL
0,9mm Thick aluminium seamless
industrial gutters coated internally
and externally with ColorTech G4,
including cut and mitred angles
covered with a mitre strip externally,
stop ends crimped and all sealed
on the inside with DOW Corning
813 silicone sealer, secured to fascia
with 20 x 2,5mm internal hanger
brackets at 500mm centres using
aluminium peeled rivets
1 | 140 x 150mm Ogee eaves gutters secured with | m | 80
brackets at 600mm centres
2 | Extra over eaves gutter for bends | No | 8
3 | Extra over eaves gutter for outlet for 75 x 100mm | No | 4
pipe
4 | 100 x 75mm Fluted rainwater pipes | m | 20
5 | Extra over rainwater pipe for bend | No | 10
6 | Extra over rainwater pipe for shoe | No | 6
TANKS ETC
JoJo water tanks secured with 4mm double
strand anchor wire, set in concrete core as
specified
7 | 5000 Litre "Wntergrass" cylindrical polyethylene water | No | 1
tank complete with 480mm diameter clip-on lid
8 | 22mm Lockable "Cobra" water tap fixed to tank | No | 1
including bushes etc
FIRE APPLIANCES ETC
Chubb
9 | 4,5Kg DCP fire extinguisher | No | 4
TOTAL CARRIED FORWARD TO SUMMARY
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 13
PAINTWORK
ON FLOATED PLASTER
One coat plaster primer, one undercoat
and two coats interior quality "Wall 'n All"
emulsion paint
1 | On internal walls | m² | 430
ON SPLATTER PLASTER
One coat plaster primer, one undercoat
and two coats exterior quality "Wall 'n All"
emulsion paint
2 | On external walls | m² | 10
ON FIBRE-CEMENT
One coat alkali resistant primer, one
undercoat and two coats exterior quality
super acrylic emulsion paint
3 | On ceilings and cornices | m² | 350
4 | On fascias boards not exceeding 300mm girth | m | 110
One coat alkali resistant primer, one
undercoat and two coats interior quality
super acrylic emulsion paint
5 | On ceilings and cornices | m² | 10
6 | On sill not exceeding 300mm girth | m | 20
ON WOOD
Two coats ABE Provonite wood preservative
7 | On exposed roof timbers | m² | 25
Three coats Wooddoc 30
8 | On laminated glulam beams | m² | 10
9 | On doors | m² | 30
One coat wood primer, one undercoat and
two coats gloss enamel paint
10 | On doors | m² | 5
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 14
ELECTRICAL INSTALLATION
Preambles
For preambles see "Standard Preambles to
all Trades".
Descriptions and Preambles
Tenderers are referred to Trades to follow
hereafter for preambles and full description of
materials and items not fully described
in this Trade and which shall apply equally to
work in this Trade, unless otherwise described.
Trade Names and Proprietary Products:
All descriptions or clauses where trades names
or proprietary products are specified, are
deemed to include the phrase "or other approved".
LOW TENSION DISTRIBUTION
Distribution boards and equipment
All new distribution boards must be recessed into
existing walls, including all necessary chasing
of supply cable, conduits, making good or
plaster, etc.
The following in flush built-in distribution
board in the passage, complete with all
equipment fittings, busbars, lightning
protection, all fitted in the factory
1 | Sheet metal work and all frames, sub-frames, | No | 1
wall pans, equipment, fittings, earth bars, bushbars
and provision for expansion, all as per specification
and detailed on floor plan
2 | Cable connection box | No | 1
CABLES
PVC/PVC/SWA/PVC copper core cables laid
in trenches (trenching and backfilling
measured elsewhere)
3 | 16mm² x 3-core | m | 270
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
PVC/PVC/SWA/PVC copper core cables
in sleeves or conduits (sleeves measured under
external works)
4 | 16mm² x 3-core | m | 25
CABLE TERMINATIONS
Termination and connection of
PVC/PVC/SWA/PVC copper core cables:
5 | 16mm² x 3-core | No | 2
EXCAVATIONS
Excavate in earth and set excavated
material aside for re-use as filling, for:
6 | Cable or sleeve trenches not exceeding 1m deep | m³ | 35
7 | Extra over excavations in earth for cable or | m³ | 3
sleeve trenches in "intermediate material"
8 | Extra over excavations in earth for cable or | m³ | 2
sleeve trenches in "hard material"
9 | Selected and approved material from the | m³ | 35
excavations, in backfilling in trenches, to
specified density
POWER INSTALLATION
CONDUITS
uPVC conduits
10 | 20mm Diameter | m | 75
CONDUCTORS AND EARTHING CONDUCTORS
PVC insulated stranded copper conductors
drawn into wire ways
11 | 2,5mm² | m | 480
Bare stranded copper earth conductors
drawn into wire ways
12 | 2,5mm² Together with PVC insulated copper | m | 160
conductors (measured elsewhere)
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
OUTLET BOXES, DRAW BOXES, ETC.
Galvanized steel draw boxes, cast into
concrete or built into brickwork
13 | 100 x 100 x 50mm Deep box | No | 12
Galvanized steel draw boxes, fixed in
roof or ceiling void
14 | 50mm Diameter x 32mm deep conduit box | No | 12
POWER FIXTURES
Power fixtures with cover plates in outlet
boxes (Outlet boxes elsewhere measured)
15 | 16A, 3-Pin Switched double socket outlet | No | 12
LIGHTING INSTALLATION
CONDUITS
uPVC conduits
16 | 20mm Diameter | m | 20
CONDUCTORS AND EARTHING CONDUCTORS
PVC insulated stranded copper conductors
drawn into wire ways
17 | 1,5mm² | m | 750
Bare stranded copper earth conductors
drawn into wire ways
18 | 2,5mm² Together with PVC insulated copper | m | 250
conductors
OUTLET BOXES, DRAW BOXES, ETC.
Galvanized steel draw boxes, cast into
concrete or built into brickwork
19 | 100 x 50 x 50mm Deep box | No | 6
Galvanized steel draw boxes, fixed in
roof or ceiling void
20 | 50mm Diameter x 32mm deep conduit box | No | 6
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
EQUIPMENT
Light switches, etc. with cover plates in
outlet boxes (Outlet boxes elsewhere
measured)
21 | 16A, Single lever one way switch | No | 6
22 | 16A, Ceiling fan controller | No | 6
LUMINAIRES AND EQUIPMENT
Supply, store and install the following
luminaires or equipment with lamps,
connections, etc. dropped in position
including cutting holes in ceiling,
additional brandering and hangers, etc.
23 | 2 x 58 Watt 1200mm long LED fluorescent fitting | No | 30
24 | 10W External waterproof LED wall mounted bulkhead | No | 10
type lights (energy saving)
25 | Industrial Ceiling fans | No | 12
26 | Wall mounted outdoor weatherproof photosensitive | No | 4
switch (IP65), complete with circuit designation data
LIGHTNING PROTECTION SYSTEMS
27 | 50mm2 Solid Aluminium alloy conductor complete | m | 60
with conductor guides, expansion loops, through
joint, etc. fixed to non-metallic roof covering
28 | 32mm² PVC insulated stranded copper down | m | 30
conductor installed in 20mm diameter galvanised
Bosal conduit and saddled to wall
29 | Terminating lug and cadmium plated bolt, nut and | No | 1
washer for connecting 50mm² copper conductor
30 | Solid copper spike (rod) 1800 x 16mm diameter and | No | 1
brass coupling with driving cap driven into ground
31 | Tee joint, c-connector, etc. complete for 50mm² | No | 1
aluminium conductor
32 | Surface mounted galvanised cable C-Box | No | 1
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 2: COMMUNITY HALL
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
TESTING & AS BUILTS
33 | Testing and commissioning the complete | Item | 1
INSTALLATION
34 | Prepare and handing over of "As Built" drawings | Item | 1
and provision of all test certificates
35 | Allow for inspection new electrical layout | Item | 1
and for the certificate of compliance
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 2: COMMUNITY HALL
BILL NO | DESCRIPTION |  |  |  | AMOUNT
SECTION SUMMARY
1 | Earthworks
2 | Concrete, Formwork and Reinforcement
3 | Masonry
4 | Waterproofing
5 | Roof Coverings
6 | Carpentry and Joinery
7 | Ceilings, Partitions and Access Flooring
8 | Ironmongery
9 | Metalwork
10 | Plastering
11 | Tiling
12 | Plumbing and Drainage (Provisional)
13 | Paintwork
14 | Electrical Installation
TOTAL CARRIED FORWARD TO FINAL SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 1
EARTHWORKS
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated
material shall be deemed to include loading
excavated material onto trucks directly from
the excavations or, alternatively, from stock
piles situated on the building site
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | For trenches | m³ | 28
2 | Pit hole | m³ | 71
Excavation in earth exceeding 2m and not
exceeding 3,5m deep
3 | Pit hole | m³ | 16
Extra over all excavations for carting away
4 | Surplus material from excavations and/or | m³ | 68
stock piles on site to a dumping site to be
located by the contractor
Risk of collapse of excavations
5 | Sides of trench excavations not exceeding | m² | 81
1,5m deep
6 | Sides of trench excavations exceeding 1,5m deep | m² | 66
Back excavation of vertical sides of excavation
in earth for working space including backfilling
compacted to 98% Mod AASHTO density
7 | Exceeding 2000mm and not exceeding 2500mm deep | m² | 66
for placing and removing formwork to pit raft foundation
Keeping excavations free of water
8 | Keeping excavations free of all water other | Item | 1
than subterranean water
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Earth filling obtained from the excavations
and/or prescribed stock piles on site
compacted to 95% Mod AASHTO density
in 100mm thick layers with wacker
9 | In filling under floors | m³ | 5
10 | Backfilling to trenches, pit holes, etc | m³ | 26
Imported G5 filling supplied by the contractor
compacted to 98% Mod AASHTO density
11 | 150mm Thick under floors etc | m³ | 10
Coarse river sand filling supplied by the
contractor
12 | Under floors etc | m³ | 5
Compaction of surfaces
13 | Compaction of ground surface under floors | m² | 35
etc including scarifying for a depth of
150mm, breaking down oversize material,
adding suitable material where necessary
and compacting to 95% Mod AASHTO
density
14 | Compaction of ground surface under strip footings | m² | 72
etc including scarifying for a depth of
150mm, breaking down oversize material,
adding suitable material where necessary
and compacting to 98% Mod AASHTO
density
Prescribed density tests on filling
15 | Modified AASHTO Density test | No | 4
SOIL POISONING
Soil insecticide
16 | Under floors etc including forming and poisoning | m² | 72
shallow furrows against foundation walls etc, filling
in furrows and ramming
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
FILTER FABRIC
A4 Bidum layer supplied by the contractor
17 | Under pit floors | m² | 35
18 | To sides of pit walls | m² | 66
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 2
CONCRETE, FORMWORK & REINFORCEMENT
SUPPLEMENTARY PREAMBLES
Cost of tests
The costs of making, storing and testing of
concrete test cubes as required under clause 7
"Tests" of SANS 1200 G shall include the cost of
providing cube moulds necessary for the purpose,
for testing costs and for submitting reports on
the tests to the engineer. The testing shall be
undertaken by an independent firm or
institution nominated by the contractor to
the approval of the engineer. (Test cubes
are measured separately)
Formwork
Description of formwork shall be deemed to
include use and waste only (except where
described as "left in" or "permanent"), for fitting
together in the required forms, wedging,
plumbing and fixing to true angles and surfaces as
necessary to ensure easy release during stripping
and for reconditioning as necessary before re-use
Formworks to soffits of solid slabs,etc shall
be deemed to be slabs not exceeding
250mm thick unless otherwise described
Formwork to sides of bases, pile caps,
ground beams, etc will only be included in
the final measurement where it is
prescribed by the engineer for design
reasons. Formwork necessitated by
irregularity or collapse of excavated faces
will not be measured and the cost thereof
shall be deemed to be included in the
allowance for taking the risk of collapse of
the sides of the excavations, provision for
which is made in "Earthworks"
REINFORCED CONCRETE
25MPa/19mm concrete
1 | Strip footings and bases | m³ | 10
2 | Surface beds on waterproofing | m³ | 6
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
3 | Pit raft foundation on waterproofing | m³ | 8
4 | Ramps on waterproofing | m³ | 1
5 | V-drains on waterproofing cast in panels | m³ | 6
6 | Slab | m³ | 6
7 | Upstand beam | m³ | 2
TEST BLOCKS
8 | Making and testing set of 150 x 150 x 150mm | No | 36
concrete strength test cubes
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth
with a wood float for non-slip surface
9 | Aprons and v-drains to currents and falls | m² | 46
10 | Pit raft foundation | m² | 35
Finishing top surfaces of concrete with "Brushed"
finish for a non-slip surface
11 | Ramps to falls | m² | 5
Finishing top surfaces of concrete smooth
with a class U3 steelfloat
12 | Water tank | m² | 4
ROUGH FORMWORK (DEGREE OF
ACCURACY II)
Rough formwork to sides
13 | Strip footings and bases not exceeding
| 300mm high or wide | m | 105
SMOOTH FORMWORK (DEGREE OF
ACCURACY II)
Smooth formwork to sides
14 | Edges, risers, ends and reveals not exceeding | m | 75
300mm high or wide
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Smooth formwork to form
15 | Opening not exceeding 1m girth through not | No | 6
exceeding 300mm slab
16 | Opening exceeding 1m and not exceeding 2m | No | 3
girth through not exceeding 300mm slab
PERMANENT FORMWORK
Permanent formwork to soffits
17 | Slabs not exceeding 250mm thick | m² | 30
18 | Extra over formwork to cut out openings for funnel | No | 6
19 | Extra over formwork to cut out openings for covers | No | 3
MOVEMENT JOINTS ETC
Two layer DPC slip joints between
horizontal concrete and brick surfaces
including cement mortar bed
20 | Joint, 345mm wide | m | 33
Expansion joints with closed cell expanded
polyethylene softboard or similar approved
with tear-off strip at top
21 | 10mm Joints not exceeding 300mm wide between | m | 25
concrete surfaces (v-drain)
22 | 12mm Joints not exceeding 300mm wide between | m | 9
concrete surfaces (pit slab)
23 | 12mm Joints not exceeding 300mm wide between | m | 77
concrete and brick surfaces (foundation walls)
24 | 12mm Joints not exceeding 300mm wide between | m | 8
concrete and block surfaces (water tank)
Saw cut joints
25 | 3 x 40mm Saw cut joints in top of concrete, including | m | 8
induced crack, groove and 6 x 13mm reamed
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
REINFORCEMENT (PROVISIONAL)
Fabric reinforcement
26 | Ref 193 fabric reinforcement in concrete | m² | 145
surface beds, float foundation, v-drain, etc
27 | Ref 245 fabric reinforcement in water tank slab | m² | 5
High tensile and mild steel reinforcement to
concrete work
28 | Various diameter bars | t | 2.25
PRECAST CONCRETE
Manhole cover
29 | 560mm Diameter concrete manhole cover (VP4) | No | 3
and frame grouted onto pit slab
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 3
MASONRY
SUPPLEMENTARY PREAMBLES
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick
units, "one brick" shall represent the length and
"half brick" the width of a brick
Face bricks
Bricks shall be ordered timeously to obtain
uniformity in size and colour
Pointing
Descriptions of recessed pointing to fair
face brickwork and face brickwork shall be
deemed to include square recessed, hollow
recessed, weathered pointing, etc
BLOCKWORK
Concrete masonry units
Blocks are to be either solid or hollow modular
dense concrete masonry units having a
compressive strength of 7 MPa
Wall ties for blockwork
Wall ties shall be polypropylene "Permaties"
complying with BS 76377. Ties for hollow walls
shall be of sufficient length to allow not less than
75mm of each end to be built into the blockwork.
Ties are to be spaced at intervals of not more than
1m in the horizontal direction and not more than
400mm staggered in the vertical direction except at
openings, vertical joints or ends of walls where they
are to be placed vertically above each other
Blockwork
Blockwork shall comply with SABS 0145 "Concrete
Masonry Construction"
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Surfaces to be plastered shall have joints raked out
to a depth of at least 10mm to provide a key.
Cavities of hollow walls shall be kept free of mortar
droppings or other undesirable matter. Every second
perpend of the bottom course of the external skin of
hollow walls shall be left open as a weep hole
Standard complementary blocks
Descriptions of blockwork shall be deemed to
include standard complementary blocks such as
corner, three-quarter, half and quarter blocks
required in the construction of corners, reveals,
jambs, ends, etc to solid and hollow walls and for
bonding as necessary
FOUNDATIONS (PROVISIONAL)
Brickwork of NFX bricks (14 MPa
nominal compressive strength) in class I
mortar
1 | Half brick walls | m² | 9 |  |  | 15.25
2 | One brick walls | m² | 40 |  |  | 25.47
3 | One and half brick pit walls | m² | 85 |  |  | 28.6
Blockwork in class 15MPa mortar with cores
filled solid with mortar
4 | Two x 190mm walls (water tank) | m² | 20
SUPERSTRUCTURE
Brickwork of NFP bricks in class II mortar
5 | Half brick wall | m² | 80 |  |  | 23.065
6 | Half brick walls in beamfilling | m² | 15
7 | One brick wall | m² | 85 |  |  | 30.51
| BRICKWORK SUNDRIES |  |  |  |  | 30.51
Bagging of 1:3 cement and sand mixture
8 | Bag outer face of inner skin of brick wall to receive | m² | 145
bitumen paint
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Joint forming material in movement
joints
9 | 10mm Bitumen impregnated fibre board | m | 6
115mm wide built in vertically between brick
walls,
10 | 10mm Bitumen impregnated fibre board | m | 6
230mm wide built in vertically between brick
walls,
Brickwork reinforcement
11 | 75mm Wide reinforcement built in horizontally | m | 350
12 | 150mm Wide reinforcement built in horizontally | m | 550
13 | 225mm Wide reinforcement built in horizontally | m | 850
Prestressed fabricated lintels including
propping
14 | 110 x 75mm Lintels in lengths not exceeding 3m | m | 85
Galvanised hoop iron clamps, wire ties etc
15 | 30 x 1,2mm Roof tie 2m girth bent double | No | 30
with one end fixed to timber and other end
built into mortar filled brickwork
Air bricks etc
16 | 220 x 160 x 50mm "Grey" Concrete vermin proof | No | 15
air bricks
BLOCKWORK SUNDRIES
Wall bonding ties
17 | 6mm Diameter mild steel rod wall bonding tie built | kg | 30
vertically into blockwork, etc
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
FACE BRICKWORK
Corobrick Firelight Travertine Imperial
FBX clay face bricks in stretcher bond
pointed with recessed horizontal and
vertical joints bedded in class II mortar
or similar approved
18 | Extra over brickwork for face brickwork in | m² | 50
foundations (Provisional)
19 | Extra over brickwork for face brickwork | m² | 110
20 | 230mm Wide sill set sloping and slightly | m | 25
projecting
EVERITE NUTEC FIBRE-CEMENT
WINDOW SILLS
Natural grey sills (031-509) in single
lengths bedded in class II mortar
including metal fixing lugs and
self-tapping screws etc.
21 | 15 x 150mm Wide sills set flat and slightly | m | 25
projecting
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 4
WATERPROOFING
DAMP-PROOFING OF WALLS AND FLOORS
One layer of 375 micron "Consol Plastics
Brikgrip DPC" embossed damp proof course
1 | In walls | m² | 30
2 | Below sills | m² | 10
One layer of 250 micron "Consol Plastics
Gunplas Black" waterproof sheeting
sealed at laps with "Gunplas Pressure
Sensitive Tape"
3 | Under surface beds | m² | 150
Two coats "Derbigum" bitumen
emulsion waterproof coating
4 | On bagged brick walls | m² | 180
5 | On external surfaces of pit brick walls | m² | 70
JOINT SEALANTS ETC
Clear silicone sealing compound or
similar approved
6 | Around aluminium window, shop fronts and | m | 65
door frames
Sika 2HP flex-pro sealant or similar approved
7 | 6 x 10mm Saw cut joint | m | 10
Polysulphide sealant or similar approved
including raking out expansion joint filler,
backing strip, primer, etc
8 | 10 x 10mm In expansion joints in floors | m | 25
Sika flex-pro 3 sealant or similar approved
including raking out expansion joint filler,
backing strip, primer, etc
9 | 12 x 10mm In expansion joints in floors | m | 100
10 | 12 x 10mm In expansion joints in walls | m | 25
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 5
ROOF COVERINGS ETC
PROFILED METAL SHEETING
AND ACCESSORIES
0.5mm "Safintra" SAFLOK Colorplus AZ150
interlocking roof sheeting, "Rain Cloud" color
fixed to timber purlins using SAFLOK 700 clips
screw fixed to timber purlins with class 3
wafer self tapping screws and saddle washers,
all in accordance with manufacturers
recommendation
1 | Roof covering with pitch not exceeding 15 degrees | m² | 110
2 | Ridge flashing 660mm girth | m | 10
3 | Hip capping 660mm girth | m | 20
4 | Narrow and broad flute closers | m | 20
5 | Serrated narrow and broad flute poly closers | m | 20
ROOF INSULATION
Sisalation FR430 heavy duty double sided
reflective foil laminate laid with 150mm
overlaps and anti sag straining wire spacing
at 275mm all in accordance with
manufacturers recommendation
6 | Insulation laid taut over purlins (at approximately | m² | 85
1,2m centres) and fixed concurrent with roof
covering
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 6
CARPENTRY AND JOINERY
ROOFS ETC
Plate nailed timber roof truss construction
The following is applicable in respect of roof
trusses:
Trusses are at maximum 1200mm centres
Roof covering is Safintra steel roof sheeting
on 50 x 75mm timber purlins
Ceilings are 6,4mm Gyproc Rhinoboard
sheeting on 38 x 50mm brandering
The dimensions in the descriptions of the
trusses are nominal and actual measurements
are to be obtained from the architect and/or the
site before design or fabrication commences
Sawn softwood
1 | 38 x 38mm Trimmer batten | m | 35
2 | 38 x 114mm Wall plates | m | 30
3 | 50 x 75mm Purlins | m | 85
4 | Roof construction to double pitched roof with | Sum | 1
two hipped ends for floor area 9,48 x 5,775m
with 600mm eaves overhang projection on both sides
and 910mm high overall including trusses, jack
rafters, permanent bracing, etc
5 | Extra over roof construction for trusses in hip set, | No | 2
including hip girders, jack trusses, truncated trusses, etc
Sundries
6 | "Teco" two way hurricane clips | No | 30
EAVES, VERGES, ETC
Nutec "Everite" pressed fibre-cement
7 | 12 x 225mm Fascia boards including PVC H-profile | m | 45
jointing strips fixed to timber rafters and trimmer
batten twice screwed with 12 x 40mm countersunk
brass screws
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
DOORS ETC
Solid hardwood meranti horizontal slatted door
8 | 40mm Single door size 813 x 2032mm high | No | 4
Semi-solid hardwood meranti horizontal slatted
door
9 | 40mm Single door size 813 x 2032mm high | No | 8
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 7
CEILINGS, PARTITIONS AND ACCESS
FLOORING
SUPPLEMENTARY PREAMBLES
Descriptions:
Items described as "nailed" shall be deemed to
be fixed with hardened steel nails or pins or shot
pinned to brickwork or concrete
Items described as "plugged" shall be deemed
to include screwing to fibre, plastic or metal
plugs at not exceeding 600mm centres, and
where described as "bolted" the bolts have been
given elsewhere
NAILED UP CEILINGS
6.4mm "Gyroc RhinoCeil"plasterboard
including M-strip cover strips over joints
1 | Ceilings including 38 x 50mm sawn softwood | m² | 65
brandering at 400mm centres including at
perimeter of rooms
2 | Extra over ceiling for 600 x 600mm trap door of | No | 1
38 x 38mm wrought softwood rebated framing with
one 38 x 38mm sawn softwood cross brander
covered with ceiling board and fitted flush in opening
Rhino gypSum plasterboard cornices
3 | 75mm Coved cornices | m | 85
INSULATION
Isoterm insulation
4 | 100mm Insulation closely fitted and laid on top | m² | 65
of brandering between roof timbers etc
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 8
IRONMONGERY
SUPPLEMENTARY PREAMBLES
Finishes to ironmongery
Where applicable finishes to ironmongery are
indicated by suffixes in accordance with the
following list:
BS Satin bronze lacquered
CH Chromium plated
SC Satin chromium plated
SE Silver enamelled
GE Grey enamelled
AS Anodised silver
AB Anodised bronze
AG Anodised gold
ABL Anodised black
PB Polished brass
PL Polished and lacquered
PT Epoxy coated
SD Sanded
HINGES, BOLTS, ETC
"Solid"
1 | Anodised aluminium WC indicator bolt | No | 5
(Art 294)
LOCKS
Solid
2 | Four lever mortice lockset and chrome plated handles | No | 4
3 | Paraplegic lockset and handles on and including | No | 1
backplate
LETTERS, NAMEPLATES, ETC
Union
4 | 180 x 180 x 0.6mm Thick white chromadeck | No | 3
sheeting with "7 Year" green vinyl symbols
BATHROOM FITTINGS
1mm "White" mild steel
5 | Vandelproof two tier toilet roll holder plugged (TR2A) | No | 6
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
"Railman Grabrails" stainless steel
6 | 32mm Diameter side grab rail (code SR300) | No | 1
7 | 32mm Diameter rear grab rail (code SR1) | No | 1
Solid
8 | 19mm Diameter chromium plated towel rail | No | 3
450mm long including end brackets
SUNDRIES
9 | 38mm Diameter rubber door stop | No | 1
10 | 38mm Diameter rubber door stop screwed to wall | No | 5
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 9
METALWORK
GALVANIZED PRESSED STEEL
DOOR FRAMES
1,6mm Double rebated frames suitable
for half brick walls
1 | Frame for door 813 x 2032mm high | No | 8
1,6mm Double rebated frames suitable
for one brick walls
2 | Frame for door 813 x 2032mm high | No | 5
ALUMINIUM WINDOWS, DOORS, ETC
Natural anodised extruded aluminium windows
with mechanically cleated corners, screw
and plug fixed to reveals with clip-on glazing
beads to match with neoprene seals and
plugged to brickwork or concrete with
minimum two fixing lugs per side, including
matching beads and continuous rubber
gaskets, wood pile gaskets on casement
and frame and sealed to prevent any
water penetration, accessories of
stainless steel heavy duty friction
hinges/ stays, double draft seals,
powder coated aluminium window
handle, etc
Glazed with 4mm clear float glass as per
SANS 10400 (Total U-value - 7,9; SHGC = 0,81)
3 | Window type PT66 size 600 x 600mm high, | No | 6
with one 600 x 600mm top hung pane
4 | Window type PT96 size 900 x 600mm high, | No | 6
with one 900 x 600mm top hung pane
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 10
PLASTERING
SCREED
Screeds wood floated on concrete
1 | 30mm Thick on floors and landings | m² | 85
INTERNAL PLASTER
15mm Cement plaster on brickwork
2 | On walls | m² | 280 |  |  | 220
3 | On walls for pit | m² | 130 |  |  | 33.42
EXTERNAL PLASTER
15mm Cement plaster on brickwork
4 | On walls | m² | 65
AIR GRATINGS
5 | 235 x 157mm White plastic plain pattern air grating | No | 12
fixed flush with plaster face
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 11
TILING
SUPPLEMENTARY PREAMBLES
Descriptions
All tiling to be fixed to walls and floors with
an approved cement based tile adhesive
WALL TILING
200 x 200 x 10mm Glazed white ceramic
"Johnson" tiles or similar approved
fixed with approved special adhesive,
3mm joints raked out and flush pointing
white grouting to plaster (plaster
elsewhere)
1 | On splashbacks | m² | 10
FLOOR TILING
600 x 600mm Full body ceramic floor
tiles with PEi 4 rating fixed to screeded
floors with tile adhesive notched trowel
and grout to 4mm joints (Allow R
250.00/m2 for supply of tiles)
2 | On floors | m² | 80
3 | Skirting, 100mm high | m | 130
FLOOR EDGE PROTECTOR
Aluminium trim
4 | 12mm Movement joint in floors | m | 25
Brass
5 | 10mm Straight edge trim | m | 5
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 12
PLUMBING AND DRAINAGE
RAINWATER DISPOSAL
0,6mm Thick aluminium seamless
industrial gutters coated internally
and externally with ColorTech G4,
including cut and mitred angles
covered with a mitre strip externally,
stop ends crimped and all sealed
on the inside with DOW Corning
813 silicone sealer, secured to fascia
with 20 x 2,5mm internal hanger
brackets at 500mm centres using
aluminium peeled rivets
1 | 125 x 85mm Ogee eaves gutters secured with | m | 35
brackets at 600mm centres
2 | Extra over eaves gutter for bend | No | 4
3 | Extra over eaves gutter for outlet for 75 x 100mm | No | 1
pipe
4 | 75 x 100mm Fluted rainwater pipes | m | 4
5 | Extra over rainwater pipe for bend | No | 2
TANKS ETC
JoJo water tanks secured with 4mm double
strand anchor wire, set in concrete core as
specified
6 | 5000 Litre "Wntergrass" cylindrical polyethylene water | No | 1
tank complete with 480mm diameter clip-on lid
7 | 22mm Lockable "Cobra" water tap fixed to tank | No | 1
including bushes etc
SLEEVES
uPVC
8 | 20mm Diameter sleeves | m | 1
9 | 110mm Diameter sleeves | m | 4
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
SANITARY FITTINGS
Granite "Atlas" plastics polyethylene sanitary
fittings
10 | Christy wash hand basin (Code: 382AP), size 570 x | No | 7
395mm wide with 2 tapholes and 40mm waste outlet,
plugged and screwed to wall with galvanized screws
and brackets
11 | VIP 200 pit pedestal with incorporated seat and flap | No | 6
(Code:222AP), size 480 x 366mm x 510mm high with
foot piece to suit inlet funnel
12 | VIP 200 inlet funnel, inserted into precast concrete | No | 6
cover slab of pit with removable plug (code 224AP)
13 | Bowl urinal Code 507AP), size 350 x 320mm x 495mm | No | 3
high with back inlet for concealed flush valve and
40mm waste outlet plug and screwed to wall with
galvanised screws and brackets
WASTE UNION
"Cobra Watertech"
14 | 40mm Urinal waste union | No | 3
15 | 40mm Basin waste union, including plug and | No | 7
chainstay, etc
TRAPS
uPVC
16 | 40mm Deepseal "P" or "S" trap | No | 7
"Cobra Watertech"
17 | 40mm 340 CP bottle trap | No | 3
TAPS
Brass
18 | 12mm Pressure control and isolating valve | No | 7
"Cobra Watertech"
19 | 15mm Chrome plated Star type pillar taps (code: 111) | No | 7
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
20 | 15mm Chrome plated Star type under wall stop-tap as | No | 3
flush valve for urinals (code: 139)
SANITARY PLUMBING
uPVC pipes
21 | 50mm Pipes | m | 20
22 | 75mm Pipes | m | 35
23 | 110mm Pipes | m | 45
Extra over uPVC pipes for fittings
24 | 50mm Acces bend | No | 10
25 | 75mm Acces bend | No | 5
26 | 50mm Access junction | No | 6
27 | 75mm Access junction | No | 2
28 | 110mm Vent cowl with insect screen | No | 3
Sundries
29 | Testing waste pipe system | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 13
GLAZING
TOPS, SHELVES, DOORS, MIRRORS, ETC
2mm Silvered float glass copper backed
mirrors with 10 mm bevelled and polished
edges holed for and fixed with chromium
plated dome capped mirror screws with
rubber buffers to plugs in brickwork or concrete
1 | Mirror 400 x 600mm high with screws | No | 7
TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  | 0 | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 14
PAINTWORK
ON FLOATED PLASTER
One coat plaster primer, one undercoat
and two coats interior quality "Wall 'n All"
emulsion paint
1 | On internal walls | m² | 320 |  |  | 270
ON SPLATTER PLASTER
One coat plaster primer, one undercoat
and two coats exterior quality "Wall 'n All"
emulsion paint
2 | On external walls | m² | 65
ON FIBRE-CEMENT
One coat alkali resistant primer, one
undercoat and two coats exterior quality
super acrylic emulsion paint
3 | On fascias boards not exceeding 300mm girth | m | 45
One coat alkali resistant primer, one
undercoat and two coats interior quality
super acrylic emulsion paint
4 | On ceilings and cornices | m² | 55
5 | On sill not exceeding 300mm girth | m | 15
ON WOOD
Two coats ABE Provonite wood preservative
6 | On exposed roof timbers | m² | 10
Three coats Wooddoc 30
7 | On doors | m² | 10
One coat wood primer, one undercoat and
two coats gloss enamel paint
8 | On doors | m² | 30
TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  | 0 | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL No 15
ELECTRICAL INSTALLATION
Preambles
For preambles see "Standard Preambles to
all Trades".
Descriptions and Preambles
Tenderers are referred to Trades to follow
hereafter for preambles and full description of
materials and items not fully described
in this Trade and which shall apply equally to
work in this Trade, unless otherwise described.
Trade Names and Proprietary Products:
All descriptions or clauses where trades names
or proprietary products are specified, are
deemed to include the phrase "or other approved".
CABLES
PVC/PVC/SWA/PVC copper core cables laid
in trenches (trenching and backfilling
measured elsewhere)
1 | 16mm² x 3-core | m | 20
PVC/PVC/SWA/PVC copper core cables
in sleeves or conduits
2 | 16mm² x 3-core | m | 8
CABLE TERMINATIONS
Termination and connection of
PVC/PVC/SWA/PVC copper core cables:
3 | 16mm² x 3-core | No | 2
EXCAVATIONS
Excavate in earth and set excavated
material aside for re-use as filling, for:
4 | Cable or sleeve trenches not exceeding 1m deep | m³ | 4
5 | Extra over excavations in earth for cable or | m³ | 2
sleeve trenches in "intermediate material"
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
6 | Extra over excavations in earth for cable or | m³ | 2
sleeve trenches in "hard material"
7 | Selected and approved material from the | m³ | 4
excavations, in backfilling in trenches, to
specified density
SLEEVES
uPVC sleeve pipes including short lenghts
and jointing and laid in trench (excavation
and backfilling elsewhere measured)
8 | 32mm Diameter pipe | m | 4
LIGHTING INSTALLATION
CONDUITS
uPVC conduits
9 | 20mm Diameter | m | 20
CONDUCTORS AND EARTHING CONDUCTORS
PVC insulated stranded copper conductors
drawn into wire ways
10 | 1,5mm² | m | 150
Bare stranded copper earth conductors
drawn into wire ways
11 | 2,5mm² Together with PVC insulated copper | m | 50
conductors
OUTLET BOXES, DRAW BOXES, ETC.
Galvanized steel draw boxes, cast into
concrete or built into brickwork
12 | 100 x 50 x 50mm Deep box | No | 5
Galvanized steel draw boxes, fixed in
roof or ceiling void
13 | 50mm Diameter x 32mm deep conduit box | No | 3
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
EQUIPMENT
Light switches, etc. with cover plates in
outlet boxes (Outlet boxes elsewhere
measured)
14 | 16A, Single lever one way switch | No | 3
15 | 16A, Single lever two way switch | No | 2
LUMINAIRES AND EQUIPMENT
Supply, store and install the following
luminaires or equipment with lamps,
connections, etc. dropped in position
including cutting holes in ceiling,
additional brandering and hangers, etc.
16 | 10W Internal waterproof LED ceiling mounted bulkhead | No | 12
type lights (energy saving)
17 | 10W External waterproof LED wall mounted bulkhead | No | 4
type lights (energy saving)
18 | Wall mounted outdoor weatherproof photosensitive | No | 2
switch (IP65), complete with circuit designation data
LIGHTNING PROTECTION SYSTEMS
19 | 50mm2 Solid Aluminium alloy conductor complete | m | 30
with conductor guides, expansion loops, through
joint, etc. fixed to non-metallic roof covering
20 | 32mm² PVC insulated stranded copper down | m | 15
conductor installed in 20mm diameter galvanised
Bosal conduit and saddled to wall
21 | Terminating lug and cadmium plated bolt, nut and | No | 1
washer for connecting 50mm² copper conductor
22 | Solid copper spike (rod) 1800 x 16mm diameter and | No | 1
brass coupling with driving cap driven into ground
23 | Tee joint, c-connector, etc. complete for 50mm² | No | 1
aluminium conductor
24 | Surface mounted galvanised cable C-Box | No | 1
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 3: ABLUTIONS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
TESTING & AS BUILTS
25 | Testing and commissioning the complete | Item | 1
INSTALLATION
26 | Prepare and handing over of "As Built" drawings | Item | 1
and provision of all test certificates
27 | Allow for inspection new electrical layout | Item | 1
and for the certificate of compliance
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | x x
SECTION 3: ABLUTIONS
BILL NO | DESCRIPTION |  |  |  | AMOUNT
SECTION SUMMARY
1 | Earthworks
2 | Concrete, Formwork and Reinforcement
3 | Masonry
4 | Waterproofing
5 | Roof Coverings
6 | Carpentry and Joinery
7 | Ceilings, Partitions and Access Flooring
8 | Ironmongery
9 | Metalwork
10 | Plastering
11 | Tiling
12 | Plumbing and Drainage (Provisional)
13 | Glazing
14 | Paintwork
15 | Electrical Installation
TOTAL CARRIED FORWARD TO FINAL SUMMARY | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SITE PREPARATION
Site clearance
1 | Digging up and removing rubbish, debris, | m² | 2100
vegetation, hedges, shrubs and trees not
exceeding 200mm girth, bush, etc
2 | Stripping average 150mm thick layer of top soil | m² | 2100
and stockpiling on site
PLATFORMS
Excavation in earth not exceeding 2m deep
3 | For platforms | m³ | 350
Selected G7 earth filling obtained from the
excavations and/or prescribed stock
piles on site compacted to 98% Mod
AASHTO density in 100mm thick layers
4 | Platforms | m³ | 400
Imported G5 filling supplied by the
contractor compacted to 98% Mod
AASHTO density in 100mm thick layers
5 | Platforms | m³ | 40
Compaction of surfaces
6 | Compaction of ground surface under | m² | 700
platforms etc including scarifying for a depth
of 150mm, breaking down oversize
material, adding suitable material where
necessary and compacting to 95% Mod
AASHTO density
PAVED ROADWORKS AND WALKWAYS
Excavation in earth not exceeding 2m deep
7 | Reduce levels under paving | m³ | 85
8 | Reduce levels under off-site parking surfacing | m³ | 40
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
Imported gravel filling supplied by the
contractor compacted to 93% Mod
AASHTO density
9 | Off-site parking surfacing | m³ | 60
Imported G5 filling supplied by the
contractor compacted to 93% Mod
AASHTO density
10 | Under pavings | m³ | 80
Compaction of surfaces
11 | Compaction of ground surface under paving areas | m² | 250
etc by wetting and compacting with vibratory roller
12 | Compaction of ground surface for off-site parking | m² | 20
etc by wetting and compacting with vibratory roller
Prescribed density tests on filling
13 | Modified AASHTO Density test | No | 2
14 | Laboratory test to determine MOD on gravel | No | 2
wearing course
Weedkiller
15 | Under pavings, etc | m² | 250
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
REINFORCED CONCRETE
30MPa/19mm concrete
16 | Concrete pavement | m3 | 50
REINFORCEMENT (PROVISIONAL)
Fabric reinforcement
17 | Ref 193 fabric reinforcement in concrete | m² | 250
ROUGH FORMWORK (DEGREE OF
ACCURACY II)
Rough formwork to sides
18 | Concrete pavement not exceeding | m | 280
300mm high or wide
Road sign boards with painted or galvanised
background, with painted symbols, characters,
legend and border
19 | Stop sign board, including steel tubing cast in and | No | 1
including concrete base
Non-reflectorized Paint Applied at Nominal Rate of
0,42 l/m2 (or Proprietary Brand Road-Marking
Material (Nominal Rate of Application and
Particulars Stated))
20 | White unbroken lines 100mm wide | m | 80
21 | White characters and symbols | m² | 25
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
SECURITY FENCING
Site clearance
22 | Clean 1200mm wide strip along fence line | m | 370
Welded mesh security fence including fully
galvanised posts, stays, framing, etc
manufactured by SA Fence and Gate
23 | Security fencing 2,4m high vertically with 500mm | m | 370
wide 45deg overhang to one side, comprising
galvanised 76mm diameter circular hollw section
posts driven into ground at average 2m centres,
Y-section overhang bolted to post, including six
2mm galvanised straining wires tied to standards,
posts and eye bolts, four strings of barbed wire tied
to overhang and the 2,4m vertical height covered with
50 x 25 x 2,5mm galvanised wire mesh fixed at
150mm centres to each straining wire
24 | 76mm Diameter CHS corner post 2,4m high vertically | No | 6
with 500mm 45deg overhang with cap and other end
with sole plate in and including concrete base
25 | 76mm Diameter CHS gate post 2,4m high vertically | No | 160
with 500mm 45deg overhang with cap and other end
with sole plate in and including concrete base
26 | 50mm Diameter CHS incline stay 1m long with one | No | 10
end bolted to post and other end with sole plate in
and including concrete base
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
DOUBLE LEAF GATES
Hot Dipped Galvanised mild steel pedestrian gate,
comprising 50 x 50 x 5mm hollow section
framing, one horizontal brace and two
diagonal bracings, etc
27 | Double leaf gate, 1800 x 2400mm high vertically with | No | 1
500mm 45deg overhang fitted to gate posts with a pair
of pin type hinges 80mm long per leaf, vertical section
covered with 50 x 25 x 2,5mm galvanised wire mesh
to framing and cross bracing, four strings barbed
wire tied to overhang, including sliding lock,
50mm type C padlock and keep set in concrete block
in ground
PEDESTRAIN GATES
Hot Dipped Galvanised mild steel pedestrian gate,
comprising 50 x 50 x 5mm hollow section
framing, one horizontal brace and two
diagonal bracings, etc
28 | Pedestrain gate, 900 x 2400mm high vertically with | No | 1
500mm 45deg overhang fitted to gate post with a pair
of pin type hinges 80mm long, vertical section
covered with 50 x 25 x 2,5mm galvanised wire mesh
to framing and cross bracing, four strings barbed
wire tied to overhang, including sliding lock and
50mm type C padlock
TOTAL CARRIED FORWARD | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD | [5 empty] | x x
SIGNAGE
29 | Emergency Assembly Point Sign, including | No | 1
posts cast into concrete base, etc.
30 | Allow the Provisional Sum of R 7 500,00 | PC | 1 | 7500 | 7500
(Seven Thousand Five Hundred Rand) for
community hall signs fixed to walls
31 | Add for profit and attendence | % | 7500
TOTAL CARRIED FORWARD TO FINAL SUMMARY | [5 empty] | x x
SECTION 4: EXTERNAL WORKS
FINAL SUMMARY
SECT NO | DESCRIPTION |  |  |  | AMOUNT
FINAL SUMMARY
1 | Preliminaries and General
2 | Community Hall
3 | Offices
4 | Verandah
5 | Ablutions
6 | External Works
7 | Guard House
Sub Total
ADD: 10% CONTINGENCIES
Sub Total
ADD: VAT @ 15%
TOTAL CARRIED FORWARD TO TENDER | [5 empty] | x x

## BOREHOLE (hidden)
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2 |  | SECTION 2: BEDFORD HOSPITAL WATER SUPPLY
2.1 | PS 2 | BOREHOLE DRILLING
2.1.1 | PS 2.2 | Rotary air percussion drilling to be employed on borehole sites with consolidated rock formations Rotary air percussion with foam - 0m to 100m
|  | a) 165mm diameter | m | 150 | 350 | 52500
|  | b) 216mm diameter | m | 40 | 400 | 16000
2.1.2 |  | Steel Casing
Supply, deliver and install steel casing (bevel-ended plain)
|  | a) 177mm OD (plain) (minimum wall thickness 4,5mm) | m | 40 | 650 | 26000
|  | b) E.O. uPVC 144mm OD (plain) | m | 10 | 350 | 3500
2.1.3 |  | Concrete Collar | No. | 2 | 850 | 1700
2.1.4 |  | Sanitary Seal | No. | 2 | 1500 | 3000
2.1.5 |  | Borehole Certificate | No. | 2 | 1500 | 3000
2.1.6 |  | Development of Borehole | Hr | 2 | 1500 | 3000
2.2 | PS 3.1 | PUMP TEST
2.2.1 |  | Establishment and Set-up Pump Testing equipment | No. | 2 | 7500 | 15000
2.2.2 |  | Pump Test (Step test (4 x 1 hr. duration and 4 hrs. maximum recovery or 95% recovered, 24-hour constant discharge test (CDT) and associated recovery (of maximum 24 hrs. of 95% recovered). | No. | 2 | 7500 | 15000
2.2.3 |  | Borehole Disinfection - Granular chlorine (HTH No. 1 or equivalent) | No. | 2 | 1500 | 3000
2.2.4 |  | Borehole Protection (re-welding of casing) | No. | 2 | 1500 | 3000
2.2.8 |  | Water level monitoring at observation borehole | No. | 2 | 1500 | 3000
2.3 | PS 3.2 | WATER SAMPLING
2.3.1 |  | Disinfection of borehole (only if pathogens indicated by total coliforms and ecolli, are present) | No. | 2 | 2500 | 5000
2.3.2 |  | Collection of water sample (including cold storage and delivery to the Laboratory) | No. | 2 | 1500 | 3000
2.3.3 |  | Sample test (SANS 241:2015) at an accredited Laboratory | No. | 2 | 2500 | 5000
2.4 |  | EARTHWORKS (PIPE TRENCHES)
2.4.1 |  | Site Clearence
2.4.1.1 |  | Clear and grub | m | 1000 | 45 | 45000
2.4.1.2 |  | Remove and grub large trees and tree stumps of girth
|  | a) over 1m and up to and including 2m | No. | 5 | 1250 | 6250
|  | b) over 2m and up to and including 3m | No. | 5 | 1800 | 9000
2.4.2 |  | Excavation
Excavate using plant, in all materials for trenches, backfill, compact to the density of 2xDCP blows per 100mm, and dispose of surplus material, for pipes:
2.4.2.1 |  | i) 0.0 m and up to 1.0m | m3 | 330 | 65 | 21450
2.4.2.2 |  | ii) Over 1.0m and up to 2.0m | m3 | 396 | 70 | 27720
2.4.2.3 |  | iii) Over 2.0m and up to 3.0m | m3 | 198 | 80 | 15840
2.4.3 |  | Bedding
2.4.3.1 |  | a) Selected granular material | m3 | 33 | 265 | 8745
2.4.3.2 |  | b) Selected fill material | m3 | 88 | 265 | 23320
TOTAL CARRIED FORWARD | [5 empty] | 318025
TOTAL BROUGHT FORWARD | [5 empty] | 318025
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2.5 |  | WATER PIPES
2.5.1 |  | Supply, lay, bed, joint, and test HDPE PE 100 Class 16 pipes
2.5.1.1 |  | 40 mm - Borehole Riser | m | 240 | 70 | 16800
2.5.1.2 |  | 50 mm - Rising Main | m | 600 | 85 | 51000
2.6 |  | CABLES & FITTINGS
2.6.1 |  | Cables & Fittings
2.6.1.1 |  | 16 mm2 2 core 600/1000V rated PVC/SWA/ECC cable include for 2 no termination | m | 240 | 75.2 | 18048
2.6.1.2 |  | 16 mm2 4 core 600/1000V rated PVC/SWA/ECC cable (borehole to DB in 50mm PVC sleeve including radius bends and conduits) include for 2 no termination | m | 800 | 97.5 | 78000
2.6.1.3 |  | Supply and installation of circuit breaker to existing main board | Sum | 1 | 1800 | 1800
2.6.1.4 |  | Electrical Compliance certificate | Sum | 1 | 6500 | 6500
2.6.1.5 |  | Safety Rope (minimum 12mm diameter SAB approved nylon safety rope) | m | 240 | 7.5 | 1800
2.6.1.6 |  | Protective pump housing | No. | 4 | 6700 | 26800
2.9.2.4 |  | Pump Fittings and Compression fittings (all HDPE pipe fittings to be PN 16 SABS approved) | Sum | 1 | 11200 | 11200
2.7 | PS 4 | EQUIPPING OF BOREHOLES
2.7.1 | PS 4.2 | Supply, deliver and install a complete, functional, 15KL/day capacity and 150m pumping head, submersible electric pump complete with a 1,5KW motor, standard control box, and weather protection. Pump to be supplied with all the installer-determined lengths of 16mm2 x 2 core 600/1000V rated PVC/SWA/ECC and 16mm2 x 4 core 600/1000V rated PVC/SWA/ECC cables. The pump is to be secured with a heavy-duty nylon safety rope and all associated electrical cables and equipment. An extension cable and protected plug point to enable the connection of a mobile generator must be included with the electrical fittings.
Rate to include all excavation for plumbing and electrical cabling, electrical testing, and the issuing of an Electrical Compliance Certificate.
The submersible pump must be low maintenance and supplied with a detailed operation and maintenance manual (O&M) for community members. This rate shall include the O&M training of the selected community member after the installation.
2.7.1.1 |  | Supply, deliver and install a Complete and functional 5KL/day capacity and 150m pumping head, submersible electric pump as per specifications above. | No. | 2 | 19800 | 39600
2.7.1.2 |  | Standard control box | No. | 2 | 8500 | 17000
2.7.1.3 |  | Weather protection control panel box | No. | 2 | 9000 | 18000
TOTAL CARRIED TO SUMMARY | [5 empty] | 604573
TOTAL CARRIED TO SUMMARY
TOTAL CARRIED TO SUMMARY